## 2020
Oakey Park Water Treatment Plant
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2020-08-25 | pH | 6.2 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-09-04 | TSS | 6 | 30 | mg/L |  |  |  |  | No
Published | 2020-09-09 | Aluminium | 0.86 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 42 | 966 | 236
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2020-07-29 | pH | 6.1 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-08-11 | TSS | 5 | 30 | mg/L |  |  |  |  | No
Published | 2020-08-12 | Aluminium | 2.77 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 43 | 735 | 216
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2020-06-23 | pH | 7.1 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-07-16 | TSS | 2 | 30 | mg/L |  |  |  |  | No
Published | 2020-07-16 | Aluminium | 0.32 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 0 | 308 | 186
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2020-05-27 | pH | 7.5 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-06-04 | TSS | 4 | 30 | mg/L |  |  |  |  | No
Published | 2020-06-11 | Aluminium | 0.66 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 5 | 1165 | 263
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2020-04-28 | pH | 7.5 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-05-06 | TSS | 3 | 30 | mg/L |  |  |  |  | No
Published | 2020-05-19 | Aluminium | 0.38 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 0 | 291 | 188
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2020-03-25 | pH | 7.3 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-04-03 | TSS | 11 | 30 | mg/L |  |  |  |  | No
Published | 2020-04-17 | Aluminium | 0.92 |  | mg/L
|  | Daily Flow |  |  | kL/day | 27 | 37 | 415 | 197
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2020-02-26 | pH | 7.4 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-03-06 | TSS | 8 | 30 | mg/L |  |  |  |  | No
Published | 2020-03-19 | Aluminium | 2.7 |  | mg/L
|  | Daily Flow |  |  | kL/day | 16 | 42 | 378 | 182
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2020-01-29 | pH | 7.3 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-02-12 | TSS | <2 | 30 | mg/L |  |  |  |  | No
Published | 2020-02-25 | Aluminium | 0.25 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 38 | 488 | 233

## 2019
Oakey Park Water Treatment Plant
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-12-18 | pH | 7.1 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2020-01-06 | TSS | 22 | 30 | mg/L |  |  |  |  | No
Published | 2020-01-08 | Aluminium | 3.16 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 82 | 557 | 240
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-11-27 | pH | 6.8 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2019-12-04 | TSS | 5 | 30 | mg/L |  |  |  |  | No
Published | 2019-12-09 | Aluminium | 0.61 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 124 | 444 | 240
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-10-29 | pH | 7.2 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2019-11-12 | TSS | 21 | 30 | mg/L |  |  |  |  | No
Published | 2019-11-13 | Aluminium | 1.26 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 42 | 326 | 228
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-09-25 | pH | 7.1 | 6.0 - 8.0 | [5 empty] | No
Obtained | 2019-10-03 | TSS | 6 | 30 | mg/L |  |  |  |  | No
Published | 2019-10-21 | Aluminium | 0.98 |  | mg/L
|  | Daily Flow |  |  | kL/day | 8 | 104 | 289 | 197
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-08-28 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-09-06 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-09-11 | pH | 6.9 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 3 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.56 |  | mg/L
|  | Daily Flow |  |  | kL/day | 23 | 163 | 429 | 244
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-07-31 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-08-07 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-08-13 | pH | 6.9 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 3 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.66 |  | mg/L
|  | Daily Flow |  |  | kL/day | 8 | 120 | 905 | 290
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-06-26 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-07-16 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-07-23 | pH | 7.2 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.6 |  | mg/L
|  | Daily Flow |  |  | kL/day | 7 | 11 | 890 | 313
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-05-29 | BOD | 2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-06-08 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-06-17 | pH | 7.2 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 37 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 3.38 |  | mg/L
|  | Daily Flow |  |  | kL/day | 17 | 16 | 348 | 234
Sampling point: 5
|  | Oil & Grease | <5
Correction Log - Aluminium results not previously recorded, previous reports amended with results.
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-04-23 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-05-06 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-05-14 | pH | 6.8 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 3 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.43
|  | Daily Flow |  |  | kL/day | 30 | 125 | 389 | 251
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-03-26 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-04-08 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-04-15 | pH | 7.1 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 21 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 1.07
|  | Daily Flow |  |  | kL/day | 29 | 105 | 795 | 277
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-02-26 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-03-08 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-03-14 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 6 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.45
|  | Daily Flow |  |  | kL/day | 28 | 84 | 522 | 270
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2019-01-29 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-02-06 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-02-07 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 10 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.38
|  | Daily Flow |  |  | kL/day | 31 | 126 | 483 | 246
Sampling point: 5
|  | Oil & Grease | <5
Correction Log for January 2019 - values for discharge from Point 3 incorrectly provided as part of the original upload, correction to the data was made 14/03/19

## 2018
Oakey Park Water Treatment Plant
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-12-18 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2019-01-05 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2019-01-10 | pH | 6.4 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 15 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 2.52 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 40 | 1268 | 362
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-11-27 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-12-06 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-12-07 | pH | 6.8 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 8 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.78 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 80 | 337 | 234
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-10-30 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-11-10 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-11-13 | pH | 6.8 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.48 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 125 | 265 | 221
Sampling point: 5
|  | Oil & Grease | <5
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-09-25 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-10-03 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-10-08 | pH | 6.5 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 6 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.71 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 115 | 380 | 232
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-08-28 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-09-06 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-09-07 | pH | 6.6 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 9 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.64 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 83 | 422 | 233
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-07-24 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-08-01 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-08-15 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 3 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.63 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 156 | 678 | 343
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-06-26 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-07-04 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-07-09 | pH | 6.8 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 6 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.91 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 82 | 285 | 184
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-05-29 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-06-07 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-06-13 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 4 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.36 |  | mg/L
|  | Daily Flow |  |  | kL/day | 28 | 40 | 245 | 146
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-04-17 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-04-27 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-05-16 | pH | 6.9 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 4 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.65 |  | mg/L
|  | Daily Flow |  |  | kL/day | 20 | 42 | 411 | 170
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-03-28 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-04-07 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-04-13 | pH | 7.2 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 3 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.38 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 83 | 295 | 169
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-02-27 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-03-10 | Oil & Grease | 6 | 10 | mg/L |  |  |  |  | No
Published | 2018-03-16 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 6 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.63 |  | mg/L
|  | Daily Flow |  |  | kL/day | 28 | 86 | 529 | 193
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2018-01-30 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2018-02-08 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-02-16 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 4 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.45 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 41 | 310 | 159

## 2017
Oakey Park Water Treatment Plant
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-12-20 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-12-30 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2018-01-11 | pH | 6.9 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 4 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.54 |  | mg/L
|  | Daily Flow |  |  | kL/day | 27 | 83 | 7102 | 449 | The result of 7,102KL was due to a lightning strike taking power out of the interface
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-11-28 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-12-12 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-12-15 | pH | 7.2 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 2 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.37 |  | mg/L
|  | Daily Flow |  |  | kL/day | 29 | 41 | 276 | 127
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-10-24 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-11-04 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-11-07 | pH | 7.6 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 25 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 8.34 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 82 | 254 | 183
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-09-27 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-10-06 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-10-10 | pH | 7.1 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 2 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.46 |  | mg/L
|  | Daily Flow |  |  | kL/day | 29 | 21 | 489 | 216
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-08-29 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-09-11 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-09-12 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 9 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 1.83 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 84 | 469 | 217
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-07-26 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-08-04 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-08-14 | pH | 6.8 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 8 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.37 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 42 | 962 | 214
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-06-27 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-07-05 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-07-10 | pH | 7.64 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.61 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 82 | 300 | 200
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-05-24 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-05-30 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-06-09 | pH | 6.72 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 18 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 1.52 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 119 | 352 | 198
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-04-18 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-04-27 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-05-08 | pH | 6.17 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 15 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 1.16 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 121 | 375 | 216
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-03-22 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-03-30 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-04-07 | pH | 7.2 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 30 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 1.1 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 83 | 351 | 215
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-02-21 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-03-07 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-03-14 | pH | 7.9 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.57 |  | mg/L
|  | Daily Flow |  |  | kL/day | 24 | 82 | 652 | 247
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2017-01-18 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-01-31 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-02-14 | pH | 6.62 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.37 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 79 | 494 | 255

## 2016
Oakey Park Water Treatment Plant
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-12-20 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2017-01-03 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2017-01-16 | pH | 7.36 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.45 |  | mg/L
|  | Daily Flow |  |  | kL/day | 28 | 82 | 380 | 230
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-11-15 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-11-23 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-12-15 | pH | 6.76 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 6 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.51 |  | mg/L
|  | Daily Flow |  |  | kL/day | 22 | 43 | 1085 | 279
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-10-18 | BOD | 3 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-11-01 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-11-11 | pH | 7.32 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.68 |  | mg/L
|  | Daily Flow |  |  | kL/day | 29 | 41 | 404 | 134
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-09-20 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-10-20 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-11-01 | pH | 6.9 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.09 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 37 | 1585 | 235
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-08-23 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-08-31 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-09-12 | pH | 6.3 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.14 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 75 | 277 | 155
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-07-26 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-08-03 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-08-12 | pH | 6.6 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <5 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.19 |  | mg/L
|  | Daily Flow |  |  | kL/day | 25 | 20 | 467 | 167
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-06-28 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-07-09 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-07-21 | pH | 6.6 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 18 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 1.56 |  | mg/L
|  | Daily Flow |  |  | kL/day | 27 | 47 | 1019 | 184
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-05-24 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-06-06 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-06-14 | pH | 6.3 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 14 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.91 |  | mg/L
|  | Daily Flow |  |  | kL/day | 31 | 28 | 297 | 133
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-04-26 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-05-06 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-05-10 | pH | 6.6 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 2 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.21 |  | mg/L
|  | Daily Flow |  |  | kL/day | 30 | 49 | 248 | 142
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-03-29 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-04-13 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-04-21 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | 2 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.18 |  | mg/L
|  | Daily Flow |  |  | kL/day | 27 | 49 | 670 | 179
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-02-23 | BOD | <2 | 10 | mg/L |  |  |  |  | No
Obtained | 2016-03-16 | Oil & Grease | <5 | 10 | mg/L |  |  |  |  | No
Published | 2016-03-22 | pH | 7 | 6.0 - 8.0 | [5 empty] | No
|  | TSS | <2 | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.14 |  | mg/L
|  | Daily Flow |  |  | kL/day | 21 | 38 | 344 | 174
Sampling point: 3 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
|  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 2016-01-19 | BOD |  | 10 | mg/L |  |  |  |  | No
Obtained | 2016-02-01 | Oil & Grease |  | 10 | mg/L |  |  |  |  | No
Published | 2016-02-05 | pH |  | 6.0 - 8.0 | [5 empty] | No
|  | TSS |  | 50 | mg/L |  |  |  |  | No
|  | Aluminium | 0.26 |  | mg/L
|  | Daily Flow |  |  | kL/day | 17 | 1 | 473 | 217