## Sheet1
| Summary of results for: |  |  | november
| Number of measurements taken: |  |  | 1
| Monitoring frequency required: |  |  | Monthly
| Date Data Published: |  |  | 2025-03-12
Sample Point 1
Discharge to Farmers Creek
| Licensee: Lithgow City Council |  |  |  |  | EPL no. 236
|  | Pollutant | Measurement | 90 Percentile Limit | 100 Percentile Limit | Units | Exceedance | Comment
|  | BOD | <2 | 10 | 15 | mg/L | No
|  | Oil & Grease | <5 | 5 | 10 | mg/L | No
Sampled | 25/11/25 | pH | 7.3 |  | 6.5 - 8.5 | pH | No
Result obtained | 26/11/25 | TSS | <2 | 15 | 30 | mg/L | No
|  | Total Aluminium | 0.17 | n/a | n/a | mg/L | No
|  | Faecal Coliforms | <1 | 200 | 600 | CFU/100ml | No
|  | Total N | 1.81 | 10 | 15 | mg/L | No
|  | Total P | 0.089 | 0.5 | 1 | mg/L | No
|  | Ammonia | 0.41 | 2 | 5 | mg/L | No
Point 1
| Month | Volume Discharged
| November | kL
| Data | 30
| Minimum | 2526
| Maximum | 5028
| Mean | 3031
| Median | 2875