## Sheet1
| Date Data Published: |  |  | 2025-03-12
| Summary of results for: |  |  | november
| Number of measurements taken: |  |  | 1
| Monitoring frequency required: |  |  | Monthly
Sample Point 1
Discharge to limestone creek
| Licensee: Lithgow City Council |  |  | EPL no. 598
|  | Pollutant | Measurement | 90th Percentile Limit | 100th Percentile Limit | Units | Exceedance | Exceedance Comment
Sampled | 25/11/25 | BOD | <2 | 10 | 15 | mg/L | No
Result Obtained | 26/11/25 | Oil & Grease | <5 | 5 | 10 | mg/L | No
| . | pH | 7.5 |  | 6.5 - 8.5 |  | No
|  | TSS | <2 | 15 | 30 | mg/L | No
|  | Aluminium | 0.13 | n/a | n/a | mg/L | No
|  | Faecal coliforms | <1 | 200 | 600 | CFU/100ml | No
|  | Total N | 2.82 | 10 | 15 | mg/L | No
|  | Total P | 0.087 | 0.5 | 1 | mg/L | No
|  | Ammonia | 0.16 | 2 | 5 | mg/L | No
| Point 1 |  |  |  |  | Summary of Units of Measure
| Month | Volume Discharged
| November | kL |  |  |  | mg/L = milligrams per litre
| Data | 30 |  |  |  | CFU/100mL = colony forming units per 100 millitres
| Minimum | 175
| Maximum | 542
| Mean | 306 | [5 empty] | *heavy rainfall event leading to maximum discharge
| Median | 292