## Sheet1
Oakey Park Water Treatment Plant
Sampling point: 1 |  |  | EPL no. 2396 |  |  | Licensee: Lithgow City Council
November |  | Quantity | Measurement | Limit | Units | Data Collected | Lowest value | Highest value | Mean | Exceedence
Sampled | 25/11/25 | pH | 7.5 | 6.0 - 8.0 | [5 empty] | No
Obtained | 26/11/25 | TSS | 5 | 30 | mg/L |  |  |  |  | No
Published | 2025-03-12 | Aluminium | 1.08 | n/a | mg/L |  |  |  |  | n/a
|  | Daily Flow |  |  | kL/day | 30 | 19 | 231 | 103